{Insert Organization}

Preventive Equipment Maintenance

POLICY:	Preventive Equipment Maintenance shall be performed on all mechanical, clinical and non-clinical equipment in accordance with the manufacturer’s specifications and timetable, or those set forth by a state or federal regulatory agency, or its designee.

PURPOSE:		To ensure equipment reliability and patient safety.

PROCEDURE:

The Administrator/Manager shall ensure the following equipment has preventative maintenance (PM) inspections in the time specified, and that records are kept of each inspection or site visit.

1.	Auto Clave

  - Visual inspection weekly by staff

- PM visit and mechanical service – once every six (6) months, by a            contracted service provider.

| {Insert Organization} | Policy and Procedure Manual |  |
| --- | --- | --- |
|  | Original Date: | Revised Date: |
| Policy Number | Subject: Preventative Equipment Maintenance Policy | Approved By: |